## Assets
id | name | kind | type | zone | purdue_level | description | criticality | vendor | model | ip | cvss_type | exposed | patched | consequence_severity | role | awareness | privilege | p_base_override
CHEM-ENT-FW-001 | Internet Edge Firewall | device | Firewall | Enterprise | 5 | Corporate internet edge firewall | High | Palo Alto | PA-5250 |  | 7.5 | true | true | 9.0
CHEM-ENT-WS-001 | Business Workstation | device | Workstation | Enterprise | 4 | Corporate user workstation on the business LAN | Medium | Dell | OptiPlex 7000 |  | 7.8 | false | false | 5.0
CHEM-ENT-SW-001 | Enterprise Core Switch | device | Network Switch | Enterprise | 4 | Core corporate network switch | High | Cisco | Catalyst 9300 |  | 6.5 | false | true | 6.0
CHEM-ENT-DC-001 | Domain Controller | device | Server | Enterprise | 4 | Active Directory for the corporate domain | High | Microsoft | Windows Server 2022 |  | 8.1 | false | false | 9.0
CHEM-ENT-ERP-001 | ERP Server | device | Server | Enterprise | 4 | Enterprise resource planning (SAP S/4HANA) | Medium | SAP | S/4HANA |  | 6.5 | false | false | 5.0
CHEM-ENT-FW-002 | Enterprise Firewall | device | Firewall | Enterprise | 4 | Enterprise-to-IDMZ boundary firewall (stateful, allow-list) | High | Palo Alto | PA-3260 |  | 7.5 | false | true | 8.0
CHEM-IDMZ-SW-001 | IDMZ Switch | device | Network Switch | IDMZ | 3.5 | Industrial DMZ network switch | High | Cisco | IE 4000 |  | 6.5 | false | false | 7.0
CHEM-IDMZ-JUMP-001 | Jump Server | device | Server | IDMZ | 3.5 | Bastion host for controlled administrative access into OT | High | Microsoft | Windows Server 2022 |  | 8.1 | true | true | 8.0
CHEM-IDMZ-DB-001 | Data Broker | device | Gateway | IDMZ | 3.5 | OPC UA data broker bridging OT data to the enterprise (unidirectional publisher) | High | Software Toolbox | Cogent DataHub |  | 7.0 | false | false | 7.0
CHEM-IDMZ-HIST-001 | Historian Replica | device | Server | IDMZ | 3.5 | Read-only historian replica serving the enterprise | Medium | OSIsoft | PI Server |  | 7.0 | false | false | 5.0
CHEM-IDMZ-RAG-001 | Remote Access Gateway | device | Gateway | IDMZ | 3.5 | VPN concentrator terminating vendor/support remote sessions | High | Palo Alto | GlobalProtect |  | 8.0 | true | true | 8.0
CHEM-IDMZ-PATCH-001 | Patch & Update Repository | device | Server | IDMZ | 3.5 | Staged patch/AV signature repository for OT hosts | Medium | Microsoft | WSUS |  | 6.5 | false | true | 6.0
CHEM-IDMZ-FW-001 | OT Firewall | device | Firewall | IDMZ | 3.5 | OT-side firewall between the IDMZ and the site operations network | High | Palo Alto | PA-3260 |  | 7.5 | false | true | 8.0
CHEM-OPS-SW-001 | Operations Switch | device | Network Switch | Operations | 3 | Site operations (L3) network switch | High | Siemens | SCALANCE XM408 |  | 6.5 | false | false | 8.0
CHEM-OPS-OP-001 | Operator Station 1 (HMI) | device | Workstation | Operations | 3 | Primary DCS operator console in the control room | High | Siemens | SIMATIC PCS 7 |  | 7.5 | false | false | 8.0
CHEM-OPS-OP-002 | Operator Station 2 (HMI) | device | Workstation | Operations | 3 | Backup DCS operator console (utilities area) | High | Siemens | SIMATIC PCS 7 |  | 7.5 | false | false | 8.0
CHEM-OPS-ENG-001 | Engineering Workstation | device | Workstation | Operations | 3 | DCS engineering station (configuration, logic, recipes) | High | Siemens | SIMATIC PCS 7 ES |  | 7.8 | false | true | 8.0
CHEM-OPS-HIST-001 | OT Historian | device | Server | Operations | 3 | Primary plant historian collecting process data | High | OSIsoft | PI Server |  | 7.0 | false | false | 7.0
CHEM-OPS-APP-001 | DCS Application Server | device | Server | Operations | 3 | PCS 7 application/OPC UA server serving the operator clients | High | Siemens | SIMATIC PCS 7 AS |  | 7.5 | false | false | 8.0
CHEM-CTL-SW-001 | Control Switch | device | Network Switch | Control | 2 | Redundant L2 control network switch fabric | High | Siemens | SCALANCE XM408 |  | 6.5 | false | false | 8.0
CHEM-CTL-DCS-001 | DCS Controller — Reactor Area | device | DCSController | Control | 2 | Reactor temperature/pressure/level control loop processor | High | Siemens | SIMATIC PCS 7 AS 410 |  | 8.5 | false | false | 10.0
CHEM-CTL-DCS-002 | DCS Controller — Distillation Area | device | DCSController | Control | 2 | Distillation column control loop processor | High | Siemens | SIMATIC PCS 7 AS 410 |  | 8.5 | false | false | 10.0
CHEM-CTL-DCS-003 | DCS Controller — Utilities & Offsites | device | DCSController | Control | 2 | Utilities, storage and tank-farm control loop processor | Medium | Siemens | SIMATIC PCS 7 AS 410 |  | 8.0 | false | false | 9.0
CHEM-SIS-GW-001 | SIS Status Gateway | device | Gateway | SIS | 2 | Certified status-only interface between the DCS and the SIS | High | HIMA | HIQuad X Gateway |  | 6.5 | false | true | 9.0
CHEM-SIS-LS-001 | Safety Logic Solver | device | SafetyPLC | SIS | 2 | SIL-3 certified safety logic solver executing ESD logic | High | HIMA | HIQuad X |  | 7.0 | false | false | 10.0
CHEM-SIS-ENG-001 | SIS Engineering Workstation | device | Workstation | SIS | 3 | Dedicated engineering station for SIS logic (isolated from the DCS engineering LAN) | High | HIMA | SIMATIC Manager SIS |  | 7.8 | false | true | 9.0
CHEM-SIS-PT-001 | High-Integrity Pressure Transmitter | physical | Transmitter | SIS | 1 | SIL-rated pressure transmitter on the reactor (SIS input) | High | Emerson | Rosemount 3051S |  |  |  |  | 9.0 |  |  |  | 0.01
CHEM-SIS-TT-001 | High-Integrity Temperature Transmitter | physical | Transmitter | SIS | 1 | SIL-rated temperature element on the reactor (SIS input) | High | Emerson | Rosemount 214S |  |  |  |  | 9.0 |  |  |  | 0.01
CHEM-SIS-SOV-001 | Safety Shutoff Valve (Feed) | physical | SafetyValve | SIS | 1 | Fail-closed SIS final element isolating the reactor feed | High | Emerson | Fisher FIELDVUE DVC6200 |  |  |  |  | 9.0 |  |  |  | 0.01
CHEM-SIS-SOV-002 | Emergency Depressurization Valve | physical | SafetyValve | SIS | 1 | Fail-open SIS final element venting the reactor to the flare (safe state) | High | Emerson | Fisher FIELDVUE DVC6200 |  |  |  |  | 9.0 |  |  |  | 0.01
CHEM-FLD-IO-001 | Field Remote I/O Rack | device | RemoteIO | Field | 1 | Fieldbus remote I/O marshalling rack feeding the DCS controllers | High | Siemens | ET 200M |  | 7.0 | false | false | 7.0
CHEM-FLD-TT-001 | Temperature Transmitter (Reactor) | physical | Transmitter | Field | 1 | Reactor temperature (thermocouple) transmitter | High | Emerson | Rosemount 214 |  |  |  |  | 8.0 |  |  |  | 0.01
CHEM-FLD-PT-001 | Pressure Transmitter (Reactor) | physical | Transmitter | Field | 1 | Reactor pressure transmitter | High | Emerson | Rosemount 3051 |  |  |  |  | 8.0 |  |  |  | 0.01
CHEM-FLD-LT-001 | Level Transmitter (Reactor) | physical | Transmitter | Field | 1 | Reactor level transmitter | High | Emerson | Rosemount 3300 |  |  |  |  | 7.0 |  |  |  | 0.01
CHEM-FLD-FCV-001 | Feed Control Valve (Reactor) | physical | ControlValve | Field | 1 | Reactor feed flow control valve (final element) | High | Emerson | Fisher V500 |  |  |  |  | 8.0 |  |  |  | 0.02
CHEM-FLD-PUMP-001 | Reactor Feed Pump | physical | Pump | Field | 1 | Centrifugal feed pump supplying the reactor | High | Grundfos | CR 64 |  |  |  |  | 8.0 |  |  |  | 0.02
CHEM-FLD-VFD-001 | Feed Pump VFD | device | VFD | Field | 1 | Variable frequency drive for the reactor feed pump | Medium | ABB | ACS880 |  | 7.5 | false | false | 7.0
CHEM-FLD-TT-002 | Temperature Transmitter (Column) | physical | Transmitter | Field | 1 | Distillation column temperature transmitter | High | Emerson | Rosemount 214 |  |  |  |  | 8.0 |  |  |  | 0.01
CHEM-FLD-PT-002 | Pressure Transmitter (Column) | physical | Transmitter | Field | 1 | Distillation column pressure transmitter | High | Emerson | Rosemount 3051 |  |  |  |  | 8.0 |  |  |  | 0.01
CHEM-FLD-FT-001 | Flow Transmitter (Reflux) | physical | Transmitter | Field | 1 | Column reflux flow transmitter | High | Emerson | Rosemount 8700 |  |  |  |  | 7.0 |  |  |  | 0.01
CHEM-FLD-FCV-002 | Reflux Control Valve | physical | ControlValve | Field | 1 | Column reflux control valve (final element) | High | Emerson | Fisher V500 |  |  |  |  | 8.0 |  |  |  | 0.02
CHEM-FLD-FCV-003 | Steam Reboiler Control Valve | physical | ControlValve | Field | 1 | Reboiler steam supply control valve (final element) | High | Emerson | Fisher V500 |  |  |  |  | 8.0 |  |  |  | 0.02
CHEM-FLD-LT-002 | Level Transmitter (Storage) | physical | Transmitter | Field | 1 | Product storage tank level transmitter | Medium | Emerson | Rosemount 3300 |  |  |  |  | 6.0 |  |  |  | 0.01
CHEM-FLD-SENSOR-001 | Cooling Water Flow Transmitter | physical | Transmitter | Field | 1 | Cooling water flow transmitter | Medium | Emerson | Rosemount 8700 |  |  |  |  | 6.0 |  |  |  | 0.01
CHEM-FLD-VALVE-001 | Cooling Water Control Valve | physical | ControlValve | Field | 1 | Cooling water supply control valve | Medium | Emerson | Fisher V500 |  |  |  |  | 6.0 |  |  |  | 0.02
CHEM-FLD-PUMP-002 | Product Transfer Pump | physical | Pump | Field | 1 | Product transfer pump to storage | High | Grundfos | CR 90 |  |  |  |  | 7.0 |  |  |  | 0.02
CHEM-PRO-REACTOR-001 | Reactor Vessel | physical | Reactor | Process | 0 | Exothermic stirred-tank reactor — primary hazard source | High | Zeton | CSTR-10m3 |  |  |  |  | 10.0 |  |  |  | 0.01
CHEM-PRO-COLUMN-001 | Distillation Column | physical | DistillationColumn | Process | 0 | Continuous distillation column separating the reactor product | High | Sulzer | Packed Column |  |  |  |  | 9.0 |  |  |  | 0.01
CHEM-PRO-HX-001 | Heat Exchanger (Reboiler) | physical | HeatExchanger | Process | 0 | Steam reboiler providing column heat input | Medium | Alfa Laval | T20 |  |  |  |  | 7.0 |  |  |  | 0.01
CHEM-PRO-PIPE-001 | Reactor-to-Column Transfer Piping | physical | Pipeline | Process | 0 | Product transfer line from the reactor to the distillation column | Medium | N/A | DN150 |  |  |  |  | 6.0 |  |  |  | 0.005
CHEM-PRO-TANK-001 | Product Storage Tank | physical | StorageTank | Process | 0 | Finished product storage tank | Medium | Chicago Bridge & Iron | Fixed Roof 500m3 |  |  |  |  | 7.0 |  |  |  | 0.01
CHEM-PRO-TANK-002 | Feedstock Storage Tank | physical | StorageTank | Process | 0 | Raw feedstock storage tank feeding the reactor | Medium | Chicago Bridge & Iron | Fixed Roof 1000m3 |  |  |  |  | 7.0 |  |  |  | 0.01
CHEM-REM-SW-001 | Remote Site Switch | device | Network Switch | Remote | 1 | Industrial switch at the remote tank farm | Medium | Siemens | SCALANCE XB208 |  | 6.5 | false | false | 6.0
CHEM-REM-RTU-001 | Remote RTU — Tank Farm | device | RTU | Remote | 1 | Remote terminal unit controlling tank-farm loading | High | Control Microsystems | SCADAPack 470 |  | 8.0 | false | false | 8.0
CHEM-REM-LT-001 | Remote Tank Level Transmitter | physical | Transmitter | Remote | 1 | Level transmitter on the remote product tank | Medium | Emerson | Rosemount 3300 |  |  |  |  | 6.0 |  |  |  | 0.01
CHEM-REM-PUMP-001 | Remote Transfer Pump | physical | Pump | Remote | 1 | Transfer pump at the remote tank farm | High | Grundfos | CR 90 |  |  |  |  | 7.0 |  |  |  | 0.02
CHEM-REM-VALVE-001 | Rail Loading Valve | physical | ControlValve | Remote | 1 | Rail-car loading isolation valve at the tank farm | Medium | Emerson | Fisher V500 |  |  |  |  | 6.0 |  |  |  | 0.02
CHEM-REM-TANK-001 | Remote Product Tank | physical | StorageTank | Remote | 0 | Product storage tank at the remote tank farm | High | Chicago Bridge & Iron | Floating Roof 2000m3 |  |  |  |  | 8.0 |  |  |  | 0.01
CHEM-HUM-OPR-001 | Process Operator | human | Operator | Operations | 3 | Board operator supervising the DCS from the control room | Medium | [6 empty] | 5.0 | operator | 0.4 | standard
CHEM-HUM-ENG-001 | Control Systems Engineer | human | Engineer | Operations | 3 | Engineer maintaining DCS configuration and control logic | Medium | [6 empty] | 6.0 | engineer | 0.5 | elevated

## Connections
source | target | type | protocol | direction | trust | firewalled | transport
CHEM-ENT-FW-001 | CHEM-ENT-SW-001 | connects-to | HTTPS | bidirectional | low | true
CHEM-ENT-WS-001 | CHEM-ENT-SW-001 | connects-to | HTTPS | bidirectional | high
CHEM-ENT-SW-001 | CHEM-ENT-DC-001 | connects-to | LDAP | bidirectional | high
CHEM-ENT-SW-001 | CHEM-ENT-ERP-001 | connects-to | HTTPS | bidirectional | high
CHEM-ENT-SW-001 | CHEM-ENT-FW-002 | connects-to | HTTPS | bidirectional | medium | true
CHEM-ENT-FW-002 | CHEM-IDMZ-SW-001 | connects-to | HTTPS | bidirectional | medium | true
CHEM-IDMZ-SW-001 | CHEM-IDMZ-JUMP-001 | connects-to | SSH | bidirectional | medium
CHEM-IDMZ-SW-001 | CHEM-IDMZ-DB-001 | connects-to | OPC UA | bidirectional | medium
CHEM-IDMZ-SW-001 | CHEM-IDMZ-HIST-001 | connects-to | OPC UA | bidirectional | medium
CHEM-IDMZ-SW-001 | CHEM-IDMZ-RAG-001 | connects-to | VPN | bidirectional | low
CHEM-IDMZ-SW-001 | CHEM-IDMZ-PATCH-001 | connects-to | HTTPS | bidirectional | medium
CHEM-IDMZ-RAG-001 | CHEM-IDMZ-JUMP-001 | connects-to | RDP | bidirectional | low
CHEM-IDMZ-SW-001 | CHEM-IDMZ-FW-001 | connects-to | HTTPS | bidirectional | medium | true
CHEM-IDMZ-FW-001 | CHEM-OPS-SW-001 | connects-to | OPC UA | bidirectional | medium | true
CHEM-IDMZ-JUMP-001 | CHEM-OPS-ENG-001 | connects-to | RDP | bidirectional | low | true
CHEM-OPS-SW-001 | CHEM-OPS-OP-001 | connects-to | OPC UA | bidirectional | high
CHEM-OPS-SW-001 | CHEM-OPS-OP-002 | connects-to | OPC UA | bidirectional | high
CHEM-OPS-SW-001 | CHEM-OPS-ENG-001 | connects-to | HTTPS | bidirectional | high
CHEM-OPS-SW-001 | CHEM-OPS-HIST-001 | connects-to | OPC UA | bidirectional | high
CHEM-OPS-SW-001 | CHEM-OPS-APP-001 | connects-to | OPC UA | bidirectional | high
CHEM-HUM-OPR-001 | CHEM-OPS-OP-001 | programs / operates | HMI | bidirectional | high
CHEM-HUM-OPR-001 | CHEM-OPS-OP-002 | programs / operates | HMI | bidirectional | high
CHEM-HUM-ENG-001 | CHEM-OPS-ENG-001 | programs / operates | HTTPS | bidirectional | high
CHEM-OPS-SW-001 | CHEM-CTL-SW-001 | connects-to | PROFINET | bidirectional | high | true
CHEM-CTL-SW-001 | CHEM-CTL-DCS-001 | connects-to | PROFINET | bidirectional | high
CHEM-CTL-SW-001 | CHEM-CTL-DCS-002 | connects-to | PROFINET | bidirectional | high
CHEM-CTL-SW-001 | CHEM-CTL-DCS-003 | connects-to | PROFINET | bidirectional | high
CHEM-OPS-ENG-001 | CHEM-CTL-DCS-001 | programs / operates | PROFINET | bidirectional | high
CHEM-OPS-ENG-001 | CHEM-CTL-DCS-002 | programs / operates | PROFINET | bidirectional | high
CHEM-OPS-ENG-001 | CHEM-CTL-DCS-003 | programs / operates | PROFINET | bidirectional | high
CHEM-OPS-OP-001 | CHEM-OPS-APP-001 | connects-to | OPC UA | bidirectional | high
CHEM-OPS-OP-002 | CHEM-OPS-APP-001 | connects-to | OPC UA | bidirectional | high
CHEM-OPS-APP-001 | CHEM-CTL-DCS-001 | connects-to | OPC UA | bidirectional | high
CHEM-OPS-APP-001 | CHEM-CTL-DCS-002 | connects-to | OPC UA | bidirectional | high
CHEM-OPS-APP-001 | CHEM-CTL-DCS-003 | connects-to | OPC UA | bidirectional | high
CHEM-OPS-HIST-001 | CHEM-CTL-DCS-001 | connects-to | OPC UA | bidirectional | high
CHEM-OPS-HIST-001 | CHEM-CTL-DCS-002 | connects-to | OPC UA | bidirectional | high
CHEM-FLD-TT-001 | CHEM-CTL-DCS-001 | monitors | HART | bidirectional | low
CHEM-FLD-PT-001 | CHEM-CTL-DCS-001 | monitors | HART | bidirectional | low
CHEM-FLD-LT-001 | CHEM-CTL-DCS-001 | monitors | HART | bidirectional | low
CHEM-FLD-IO-001 | CHEM-CTL-DCS-001 | connects-to | PROFIBUS | bidirectional | medium
CHEM-FLD-IO-001 | CHEM-CTL-DCS-002 | connects-to | PROFIBUS | bidirectional | medium
CHEM-CTL-DCS-001 | CHEM-FLD-FCV-001 | actuates | HART | unidirectional | low
CHEM-CTL-DCS-001 | CHEM-FLD-PUMP-001 | controls | PROFINET | unidirectional | low
CHEM-CTL-DCS-001 | CHEM-FLD-VFD-001 | actuates | PROFINET | bidirectional | low
CHEM-FLD-TT-002 | CHEM-CTL-DCS-002 | monitors | HART | bidirectional | low
CHEM-FLD-PT-002 | CHEM-CTL-DCS-002 | monitors | HART | bidirectional | low
CHEM-FLD-FT-001 | CHEM-CTL-DCS-002 | monitors | HART | bidirectional | low
CHEM-CTL-DCS-002 | CHEM-FLD-FCV-002 | actuates | HART | unidirectional | low
CHEM-CTL-DCS-002 | CHEM-FLD-FCV-003 | actuates | HART | unidirectional | low
CHEM-FLD-LT-002 | CHEM-CTL-DCS-003 | monitors | Modbus TCP | bidirectional | low
CHEM-FLD-SENSOR-001 | CHEM-CTL-DCS-003 | monitors | Modbus TCP | bidirectional | low
CHEM-CTL-DCS-003 | CHEM-FLD-VALVE-001 | actuates | Modbus TCP | unidirectional | low
CHEM-CTL-DCS-003 | CHEM-FLD-PUMP-002 | controls | Modbus TCP | unidirectional | low
CHEM-CTL-DCS-001 | CHEM-SIS-GW-001 | connects-to | PROFIsafe | bidirectional | medium | true
CHEM-SIS-GW-001 | CHEM-SIS-LS-001 | connects-to | PROFIsafe | bidirectional | medium | true
CHEM-SIS-PT-001 | CHEM-SIS-LS-001 | monitors | PROFIsafe | bidirectional | low
CHEM-SIS-TT-001 | CHEM-SIS-LS-001 | monitors | PROFIsafe | bidirectional | low
CHEM-SIS-ENG-001 | CHEM-SIS-LS-001 | programs / operates | PROFIsafe | bidirectional | medium
CHEM-SIS-LS-001 | CHEM-SIS-SOV-001 | actuates | PROFIsafe | unidirectional | low
CHEM-SIS-LS-001 | CHEM-SIS-SOV-002 | actuates | PROFIsafe | unidirectional | low
CHEM-FLD-FCV-001 | CHEM-PRO-REACTOR-001 | actuates | HART | unidirectional | low
CHEM-FLD-PUMP-001 | CHEM-PRO-REACTOR-001 | actuates | PROFINET | unidirectional | low
CHEM-FLD-PUMP-001 | CHEM-PRO-PIPE-001 | actuates | PROFINET | unidirectional | low
CHEM-FLD-PUMP-001 | CHEM-PRO-TANK-002 | actuates | PROFINET | unidirectional | low
CHEM-FLD-LT-002 | CHEM-PRO-TANK-002 | monitors | Modbus TCP | bidirectional | low
CHEM-PRO-PIPE-001 | CHEM-PRO-COLUMN-001 | connects-to | Piping | unidirectional | high
CHEM-FLD-FCV-002 | CHEM-PRO-COLUMN-001 | actuates | HART | unidirectional | low
CHEM-FLD-FCV-003 | CHEM-PRO-HX-001 | actuates | HART | unidirectional | low
CHEM-PRO-HX-001 | CHEM-PRO-COLUMN-001 | actuates | Piping | unidirectional | high
CHEM-FLD-VALVE-001 | CHEM-PRO-HX-001 | actuates | Modbus TCP | unidirectional | low
CHEM-FLD-PUMP-002 | CHEM-PRO-TANK-001 | actuates | Modbus TCP | unidirectional | low
CHEM-SIS-SOV-001 | CHEM-PRO-REACTOR-001 | actuates | PROFIsafe | unidirectional | low
CHEM-SIS-SOV-002 | CHEM-PRO-REACTOR-001 | actuates | PROFIsafe | unidirectional | low
CHEM-CTL-DCS-003 | CHEM-REM-RTU-001 | controls | DNP3 | bidirectional | low | true | Leased line + VPN
CHEM-REM-SW-001 | CHEM-REM-RTU-001 | connects-to | DNP3 | bidirectional | low
CHEM-REM-LT-001 | CHEM-REM-RTU-001 | monitors | Modbus TCP | bidirectional | low
CHEM-REM-RTU-001 | CHEM-REM-PUMP-001 | actuates | Modbus TCP | unidirectional | low
CHEM-REM-RTU-001 | CHEM-REM-VALVE-001 | actuates | Modbus TCP | unidirectional | low
CHEM-REM-PUMP-001 | CHEM-REM-TANK-001 | actuates | Modbus TCP | unidirectional | low
CHEM-REM-VALVE-001 | CHEM-REM-TANK-001 | actuates | Modbus TCP | unidirectional | low