## Assets
id | name | kind | type | zone | purdue_level | description | criticality | vendor | model | ip | cvss_type | exposed | patched | consequence_severity | role | awareness | privilege | p_base_override
PIPE-CTR-FW-001 | Control Center Firewall | device | Firewall | ControlCenter | 4 | Protects control center | High | Palo Alto | PA-5250 |  | 7.5 | true | true | 8.0
PIPE-CTR-SW-001 | Control Center Switch | device | Network Switch | ControlCenter | 3 | Core switch | High | Cisco | Catalyst 9300 |  | 6.5 | false | true | 8.0
PIPE-CTR-SCADA-001 | SCADA Server | device | SCADA | ControlCenter | 3 | Pipeline SCADA | High | Schneider | OASyS DNA |  | 8.5 | false | false | 10.0
PIPE-CTR-HIST-001 | Historian | device | Server | ControlCenter | 3 | Pipeline data historian | Medium | OSIsoft | PI Server |  | 7.0 | false | false | 6.0
PIPE-CTR-HMI-001 | HMI | device | HMI | ControlCenter | 3 | Operator console | Medium | Schneider | ClearSCADA |  | 7.5 | false | false | 7.0
PIPE-CTR-EWS-001 | Engineering Workstation | device | Workstation | ControlCenter | 3 | Configuration station | Low | Dell | Precision 7920 |  | 7.8 | false | true | 5.0
PIPE-RTU-001 | RTU (Station A) | device | RTU | RemoteSite | 1 | RTU for pump station A | High | Control Microsystems | SCADAPack 470 |  | 8.0 | false | false | 8.0
PIPE-RTU-002 | RTU (Station B) | device | RTU | RemoteSite | 1 | RTU for pump station B | High | Control Microsystems | SCADAPack 470 |  | 8.0 | false | false | 8.0
PIPE-RTU-003 | RTU (Valve Site) | device | RTU | RemoteSite | 1 | RTU for block valve site | High | Control Microsystems | SCADAPack 470 |  | 8.0 | false | false | 8.0
PIPE-RTU-004 | RTU (Metering) | device | RTU | RemoteSite | 1 | RTU for custody transfer | High | Control Microsystems | SCADAPack 470 |  | 8.0 | false | false | 8.0
PIPE-SW-001 | Station Switch A | device | Network Switch | RemoteSite | 1 | Industrial switch for station A | High | Siemens | SCALANCE XM408 |  | 6.5 | false | false | 7.0
PIPE-SW-002 | Station Switch B | device | Network Switch | RemoteSite | 1 | Industrial switch for station B | High | Siemens | SCALANCE XM408 |  | 6.5 | false | false | 7.0
PIPE-PUMP-001 | Main Pump A | physical | Pump | Field | 1 | Centrifugal pump | High | Sulzer | Z6 |  |  |  |  | 8.0 |  |  |  | 0.02
PIPE-PUMP-002 | Standby Pump A | physical | Pump | Field | 1 | Standby pump | High | Sulzer | Z6 |  |  |  |  | 8.0 |  |  |  | 0.02
PIPE-VFD-001 | VFD A | device | VFD | Field | 1 | Variable frequency drive for pump | High | ABB | ACS880 |  | 7.5 | false | false | 7.0
PIPE-VALVE-001 | Suction Valve A | physical | Valve | Field | 1 | Motor-operated valve | Medium | Emerson | Fisher V500 |  |  |  |  | 7.0 |  |  |  | 0.02
PIPE-SENSOR-001 | Pressure Sensor A | physical | Sensor | Field | 1 | Discharge pressure | Medium | Emerson | Rosemount 3051 |  |  |  |  | 5.0 |  |  |  | 0.01
PIPE-SENSOR-002 | Flow Meter A | physical | Sensor | Field | 1 | Ultrasonic flow meter | High | Emerson | Daniel 3410 |  |  |  |  | 6.0 |  |  |  | 0.01
PIPE-SENSOR-003 | Temperature Sensor A | physical | Sensor | Field | 1 | Product temperature | Low | Emerson | Rosemount 214 |  |  |  |  | 4.0 |  |  |  | 0.01
PIPE-PUMP-003 | Main Pump B | physical | Pump | Field | 1 | Centrifugal pump | High | Sulzer | Z6 |  |  |  |  | 8.0 |  |  |  | 0.02
PIPE-VFD-002 | VFD B | device | VFD | Field | 1 | VFD for pump B | High | ABB | ACS880 |  | 7.5 | false | false | 7.0
PIPE-VALVE-002 | Discharge Valve B | physical | Valve | Field | 1 | Motor-operated valve | Medium | Emerson | Fisher V500 |  |  |  |  | 7.0 |  |  |  | 0.02
PIPE-SENSOR-004 | Pressure Sensor B | physical | Sensor | Field | 1 | Discharge pressure | Medium | Emerson | Rosemount 3051 |  |  |  |  | 5.0 |  |  |  | 0.01
PIPE-SENSOR-005 | Flow Meter B | physical | Sensor | Field | 1 | Ultrasonic flow meter | High | Emerson | Daniel 3410 |  |  |  |  | 6.0 |  |  |  | 0.01
PIPE-VALVE-003 | Block Valve | physical | Valve | Field | 1 | Emergency block valve | High | Emerson | Fisher V500 |  |  |  |  | 8.0 |  |  |  | 0.02
PIPE-SENSOR-006 | Pressure Sensor Valve | physical | Sensor | Field | 1 | Pressure at valve site | Medium | Emerson | Rosemount 3051 |  |  |  |  | 5.0 |  |  |  | 0.01
PIPE-SENSOR-007 | Custody Meter | physical | Sensor | Field | 1 | Custody transfer meter | High | Emerson | Daniel 3410 |  |  |  |  | 6.0 |  |  |  | 0.01
PIPE-SENSOR-008 | Density Meter | physical | Sensor | Field | 1 | Product density | Medium | Emerson | Micro Motion |  |  |  |  | 5.0 |  |  |  | 0.01
PIPE-HUM-DSP-001 | Pipeline Dispatcher | human | Dispatcher | ControlCenter | 3 | Dispatcher monitoring pipeline operations | Medium | [6 empty] | 4.0 | operator | 0.45 | standard

## Connections
source | target | type | protocol | direction | trust | firewalled | transport
PIPE-CTR-FW-001 | PIPE-CTR-SW-001 | connects-to | HTTP | bidirectional | low | true
PIPE-CTR-SW-001 | PIPE-CTR-SCADA-001 | connects-to | OPC UA | bidirectional | high
PIPE-CTR-SW-001 | PIPE-CTR-HIST-001 | connects-to | OPC UA | bidirectional | high
PIPE-CTR-SW-001 | PIPE-CTR-HMI-001 | connects-to | OPC UA | bidirectional | high
PIPE-CTR-SW-001 | PIPE-CTR-EWS-001 | connects-to | SSH | bidirectional | medium
PIPE-HUM-DSP-001 | PIPE-CTR-HMI-001 | programs / operates | HMI | bidirectional | high
PIPE-CTR-SCADA-001 | PIPE-RTU-001 | controls | DNP3 | bidirectional | medium
PIPE-CTR-SCADA-001 | PIPE-RTU-002 | controls | DNP3 | bidirectional | medium
PIPE-CTR-SCADA-001 | PIPE-RTU-003 | controls | DNP3 | bidirectional | medium
PIPE-CTR-SCADA-001 | PIPE-RTU-004 | controls | DNP3 | bidirectional | medium
PIPE-RTU-001 | PIPE-SW-001 | connects-to | Modbus TCP | bidirectional | low
PIPE-RTU-002 | PIPE-SW-002 | connects-to | Modbus TCP | bidirectional | low
PIPE-SW-001 | PIPE-PUMP-001 | actuates | Modbus TCP | unidirectional | low
PIPE-SW-001 | PIPE-PUMP-002 | actuates | Modbus TCP | unidirectional | low
PIPE-SW-001 | PIPE-VFD-001 | connects-to | Modbus TCP | bidirectional | low
PIPE-SW-001 | PIPE-VALVE-001 | actuates | Modbus TCP | unidirectional | low
PIPE-SW-001 | PIPE-SENSOR-001 | monitors | Modbus TCP | bidirectional | low
PIPE-SW-001 | PIPE-SENSOR-002 | monitors | Modbus TCP | bidirectional | low
PIPE-SW-001 | PIPE-SENSOR-003 | monitors | Modbus TCP | bidirectional | low
PIPE-SW-002 | PIPE-PUMP-003 | actuates | Modbus TCP | unidirectional | low
PIPE-SW-002 | PIPE-VFD-002 | connects-to | Modbus TCP | bidirectional | low
PIPE-SW-002 | PIPE-VALVE-002 | actuates | Modbus TCP | unidirectional | low
PIPE-SW-002 | PIPE-SENSOR-004 | monitors | Modbus TCP | bidirectional | low
PIPE-SW-002 | PIPE-SENSOR-005 | monitors | Modbus TCP | bidirectional | low
PIPE-RTU-003 | PIPE-VALVE-003 | actuates | Modbus TCP | unidirectional | low
PIPE-RTU-003 | PIPE-SENSOR-006 | monitors | Modbus TCP | bidirectional | low
PIPE-RTU-004 | PIPE-SENSOR-007 | monitors | Modbus TCP | bidirectional | low
PIPE-RTU-004 | PIPE-SENSOR-008 | monitors | Modbus TCP | bidirectional | low